SOFTWARE REQUIREMENT SPECIFICATION DOCUMENT

Laboratory Equipment Management System (LEMS)

# 1. Purpose and Scope

This SRS defines the principal functional and non-functional requirements for LEMS, a centralized application for managing laboratory equipment throughout its lifecycle. It is intended for laboratory stakeholders, project owners, developers, testers, and IT operations. The initial release is assumed to be a browser-based application with a centralized database. LEMS supports operational tracking and recordkeeping; it does not itself certify a laboratory or guarantee regulatory compliance.

# 2. Product Overview and User Roles

LEMS will maintain a single source of truth for equipment identity, location, availability, responsibility, issue/return activity, maintenance, calibration, and history. Role-based access shall restrict actions according to approved permissions.

| User role | Primary permissions / responsibilities |
| --- | --- |
| Administrator | Manage users, roles, configuration, reference data, and system operations. |
| Lab Manager / Custodian | Manage equipment, issue/return, transfers, maintenance, calibration, and reports. |
| Faculty / Staff | Search equipment and perform permitted requests or transactions. |
| Student / Authorized User | View permitted equipment information and their own issue/return records. |
| Auditor / Read-only | Review authorized records, reports, and audit history without editing. |

# 3. Functional Requirements

FR-01 Equipment records: Authorized users shall create, update, search, and retire equipment records. Each item shall have a unique asset ID and fields such as name, category, manufacturer, model, serial number, purchase date, location, status, custodian, and warranty details.

FR-02 Search and availability: Users shall search/filter by asset ID, name, category, location, serial number, or status. The system shall distinguish Available, Issued, Under Maintenance, Under Calibration, Damaged, and Retired items.

FR-03 Issue, return and transfer: The system shall record recipient, issuer, issue time, expected return, return time, condition, and equipment movement. It shall prevent duplicate active issues for non-shareable items and identify overdue returns.

FR-04 Maintenance: Authorized users shall record preventive/corrective work, service provider, dates, outcome, next due date, and supporting documents. Equipment under maintenance shall not be issuable until released by an authorized user.

FR-05 Calibration: The system shall record calibration dates, next due date, provider, certificate reference/file, and outcome. Upcoming/overdue calibration shall be flagged, and failed or overdue calibration shall restrict use when required by approved policy.

FR-06 Notifications and audit: The system shall surface overdue returns and upcoming/overdue maintenance or calibration. Significant record changes and transactions shall be logged with actor, timestamp, affected record, and action; ordinary users shall not alter audit entries.

FR-07 Reporting: Authorized users shall generate inventory, availability, issue/overdue, maintenance, calibration, and equipment-history reports, with relevant filters. CSV/PDF export may be provided.

FR-08 Administration: Administrators shall manage user accounts, roles, categories, locations, and departments. Controlled CSV import and document attachments may be supported.

# 4. Non-Functional Requirements

Security: Authentication and server-side role authorization are mandatory. Production traffic shall use HTTPS; secrets and passwords shall be protected; inputs shall be validated; secure logout and session expiry shall follow approved policy.

Performance: Proposed baseline: for 10,000 equipment records and 50 concurrent users, 95% of normal searches should complete within 2 seconds and standard record updates within 3 seconds under agreed test conditions.

Reliability and recovery: Critical updates shall be transactional. Backup/restore procedures shall be documented and tested; RPO, RTO, backup retention, and availability targets require owner approval.

Usability and maintainability: Forms shall identify required fields and provide clear validation messages. The application should support accessible, responsive interfaces, documented deployment, modular code, and automated tests.

Data integrity and privacy: Identifiers shall be unique; references and dates shall be validated; equipment history shall be retained after retirement. Personal-data access and retention shall follow institutional policy.

# 5. Constraints, Standards and Acceptance

The project will follow a structured life-cycle approach informed by IEEE 1074 principles. Requirements engineering and documentation practices may be aligned with ISO/IEC/IEEE 29148. ISO 9001, ISO/IEC 27001, and ISO/IEC 17025 may be used as relevant reference frameworks; no certification or compliance claim is implied. QR/barcode support, mobile applications, SSO, email delivery, IoT monitoring, and predictive analytics are future or optional extensions.

Acceptance shall include tests for unique asset IDs, role restrictions, issue/return consistency, blocked issue of restricted equipment, due/overdue alerts, audit history, report accuracy, and successful backup restoration. All mandatory requirements shall be verified or formally deferred before release.

# 6. Assumptions and Open Decisions

Before implementation, stakeholders must approve the role-permission matrix, equipment categories and required fields, calibration rules, notification windows, hosting and identity approach, expected workload, retention policy, and recovery targets. Email notifications depend on an approved mail service; migration depends on clean, mapped legacy data.